## Cable Type
Cable Type | Code
Unarmored multi triad cable 600/1000V -IEC 60502-1 | J5
Steel wire armor multi triad cable 600/1000V -IEC 60502-1 | J8
Steel wire armor braid multi triad cable 600/1000V -IEC 60502-1 | T7

## Conductor
Conductor | Code
1.00 Class-5 Stranding (Bare Copper) | 11
1.00 Class-5 Stranding (Tinned Copper) | 12
1.50 Class-5 Stranding (Bare Copper) | 13
1.50 Class-5 Stranding (Tinned Copper) | 14
2.50 Class-5 Stranding (Bare Copper) | 15
2.50 Class-5 Stranding (Tinned Copper) | 16
1.00 Class-2 Stranding (Bare Copper) | 33
1.00 Class-2 Stranding (Tinned Copper) | 34
1.50 Class-2 Stranding (Bare Copper) | 35
1.50 Class-2 Stranding (Tinned Copper) | 36
2.50 Class-2 Stranding (Bare Copper) | 37
2.50 Class-2 Stranding (Tinned Copper) | 38

## Insulation or Jacket
Insulation/Jacket | Code
FRPVC/FRPVC IEC 60332-3C | 5
FRLS PVC/FRLS PVC IEC 60332-3C | 6
XLPE/FRPVC IEC 60332-3C | 9
XLPE/FRLS PVC IEC 60332-3C | A
XLPE/LSZH IEC 60332-3C | C

## Insulation Color
Insulation Color | Code
White, Black & Red with numbers | M
Blue, Black & Red with numbers | N

## Shield
Shield | Code
Unshielded | U
Overall foil shield with TC drain wire | F
Individual & overall foil shield with drain wire | S
Overall foil + tinned copper braid shield | T

## No.of Triads
No. of Triads | Code
1 Triad | 01
2 Triad | 02
3 Triad | 03
4 Triad | 04
5 Triad | 05
6 Triad | 06
7 Triad | 07
8 Triad | 08

## Jacket Color
Jacket Color | Code
Black Jacket | 010
Grey Jacket | 008
Blue Jacket | 006
Chrome Jacket | 060
Violet Jacket | 007
Orange Jacket | 003

## Sheet8
Jacket Color | Code
Black Jacket | 010
Grey Jacket | 008
Blue Jacket | 006
Chrome Jacket | 060
Violet Jacket | 007
Orange Jacket | 003