## cable type
Cable Application | Code
Instrumentation PLTC cable unarmored | PU
Instrumentation PLTC cable Steel wire armored | PA

## conductor
Conductor Area (mm²) | Bare Copper Code | Tinned Copper Code
22AWG Class-2 | 1A | 1B
20AWG Class-2 | 0A | 0B
18AWG Class-2 | 8A | 8B
16AWG Class-2 | 6A | 6B
14AWG Class-2 | 4A | 4B
12AWG Class-2 | 2A | 2B
22AWG Class-5 | 1C | 1D
20AWG Class-5 | 0C | 0D
18AWG Class-5 | 8C | 8D
16AWG Class-5 | 6C | 6D
14AWG Class-5 | 4C | 4D
12AWG Class-5 | 2C | 2D

## insulation or jacket
Insulation/Jacket | Insulation / Jacket Code
PVC/FRPVC | 5
XLPE/FRPVC | 9

## insulation color
White & Black with continue number coding for Pairs cable | U
White , Black & Red with continue number coding for Triads cable | u

## shield
Shield | Code
Unshielded | U
Overall foil Shield with TC drain wire | F
Individual & overall foil shield with drain wire | S

## no of Triads
No. of Pairs/Triads | Code
1 | 1
2 | 2
3 | 3
4 | 4
5 | 5
6 | 6
7 | 7
8 | 8

## jacket color
Black | 10
Grey | 8
Blue | 6
Chrome | 60
Violet | 7
Orange | 3
Red | 2